|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Standard** | **Version** | **Amend-ment** | **Title** | **Applicable** |
| EN 285 | 2015 | A1:2021 | Sterilization – Steam sterilizers – Large sterilizers |  |
| EN ISO 10993-9 | 2021 |  | Biological evaluation of medical devices - Part 9: Framework for identification and quantification of potential degradation products |  |
| EN ISO 10993-10 | 2023 |  | Biological evaluation of medical devices – Part 10: Tests for skin sensitisation (ISO 10993-10:2021) |  |
| EN ISO 10993-12 | 2021 |  | Biological evaluation of medical devices - Part 12: Sample preparation and reference materials |  |
| EN ISO 10993-23 | 2021 |  | Biological evaluation of medical devices - Part 23: Tests for irritation |  |
| EN ISO 11135 | 2014 | A1:2019 | Sterilization of health care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices  |  |
| EN ISO 11137-1 | 2015 | A2:2019 | Sterilization of health care products - Radiation - Part1: Requirements for development, validation and routine control of a sterilization process for medical devices |  |
| EN ISO 11737-1 | 2018 | A1:2021 | Sterilization of health care products - Microbiological methods - Part 1: Determination of a population of microorganisms on products |  |
| EN ISO 11737-2 | 2020 |  | Sterilization of health care products - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process |  |
| EN ISO 13408-6 | 2021 |  | Aseptic processing of health care products - Part 6: Isolator systems |  |
| EN ISO 13485 | 2016 | A11:2021 | Medical devices - Quality management systems - Requirements for regulatory purposes |  |
| EN ISO 14160 | 2021 |  | Sterilization of health care products - Liquid chemical sterilizing agents for single-use medical devices utilizing animal tissues and their derivatives - Requirements for characterization, development, validation and routine control of a sterilization process for medical devices |  |
| EN ISO 14971 | 2019 | A11:2021 | Medical devices – Application of risk management to medical devices |  |
| EN ISO 15223-1 | 2021 |  | Medical devices - Symbols to be used with medical device labels, labeling and information to be supplied - Part 1: General requirements  |  |
| EN ISO 17664-1 | 2021 |  | Processing of health care products - Information to be provided by the medical device manufacturer for the processing of medical devices - Part 1: Critical and semi-critical medical devices |  |
| EN ISO 25424 | 2019 | A1:2022 | Sterilization of health care products – Low temperature steam and formaldehyde – Requirements for development, validation and routine control of a sterilisation process for medical devices (ISO 25424:2018) |  |
| EN IEC 60601-2-83 | 2020 |  | Medical electrical equipment - Part 2-83: Particular requirements for the basic safety and essential performance of home light therapy equipment |  |